Sleep Studies: Which type and what to look for?

Obstructive sleep apnoea syndrome (OSAS) is a highly prevalent disorder, affecting at least 4% of middle-aged males and 2% of middle-aged females [1]. However, it is estimated that up to 82% of males and 93% of females with OSAS remain undiagnosed [2]. Undiagnosed and untreated OSAS leads to a markedly increased cardiovascular morbidity and mortality, increased risk of and increased incidence of road traffic accidents, depression, metabolic dysfunction and diabetes mellitus, and a significant reduction in quality of life [3]. That’s why the different types of sleep studies used for the diagnostic approach to OSAS are of paramount importance. Traditionally, sleep studies have been categorized as Type I, II, III, and IV (table 1)[4].

Type I

Type I sleep study or polysomnography (PSG) refers to an in-laboratory technician-attended continuous recording of multiple physiological variables that monitor sleep architecture and cardio-respiratory function during sleep [5]. Type I sleep studies are considered the reference standard against which other sleep studies are evaluated [5].

The signals routinely recorded include: two electroencephalogram (EEG) signals, bilateral electro-oculograms (EOGs), submental electromyography (EMG), electrocardiography (ECG), bilateral anterior tibial muscle activity, arterial oxygen saturation, respiratory thoraco-abdominal excursions, airflow (nasal pressure and oro-nasal thermocouples) and body position. Other variables may be additionally recorded such as digital video, transcutaneous CO2, and esophageal pressure (to assess respiratory effort and further elucidate the central or obstructive origin of respiratory events).

PSG allows measurement of sleep stage and accurate quantification of respiratory events. REM sleep is often associated with exacerbation of the sleep related breathing disorders and, in some cases, sleep disordered breathing may be confined entirely to REM sleep [6]. It distinguishes obstructive from central events, determines the effects of body position on sleep disordered breathing, and allows the recognition of other sleep disorders (e.g. periodic limb movement disorder, parasomnias. narcolepsy, chronic sleep restriction due to circadian rhythm disturbance). Furthermore, type I sleep study provides information on arousals which are important in the diagnosis of upper airway resistance syndrome [7].

Type II

Type II sleep study refers to an unattended PSG performed at home. It records a minimum of seven channels including EEG, EOG, chin EMG, ECG or heart rate, airflow, respiratory effort and oxygen saturation.

The available literature indicates that type II studies can be used as part of a diagnostic pathway to rule in and rule out suspected sleep apnea. Type II studies have been thoroughly evaluated by the Sleep Heart Health Research Group, where Iber et al. found excellent agreement between them and in-laboratory PSG, while patients had better sleep time and efficiency in their own beds than in a sleep laboratory [8].  A New Zealand group reported a failure rate of type II sleep studies of 6.6% [9]. A higher success rate is generally obtained when type II studies are set up by experienced personnel in the home environment compared to the other two options (the patient comes to the laboratory and is “wired up and sent home; and the patient is provided with instructions and undertakes the “wire up” at home unsupervised) [9].

A meta-analysis of in-laboratory versus home PSG concluded that they both provide similar diagnostic information, but type II studies may underestimate severity of AHI by approximately 10% [10]. Additionally, sleep staging and arousal data might be deemed unreliable as it was the case in a quarter of unattended PSG recordings from the Sleep Heart Health Study [8]. Therefore, unless actually attended by a trained sleep technician, there appears to be little added benefit from full home PSG over more limited measurement of cardiorespiratory parameters [3].

Type II studies may be contra-indicated:

i. For patients with neuropsychological disorders, neuromuscular or severe intellectual disability or major communication difficulties or severe physical disability,

ii. When home environment is unsuitable,

iii. For patients suspected for parasomnia/seizures who require infrared camera or extended EEG montage,

iv) For disorders where video confirmation is essential (e.g. REM sleep behavior disorder),

v) For patients where transcutaneous CO2 monitoring required.

Type III

Type III sleep studies consist of home sleep tests that do not include EEG, EOG or EMG sensors, all of which are required to define sleep versus wake. Type III studies use devices that measure limited number cardiopulmonary parameters, usually two respiratory variables (e.g., effort to breathe, airflow), oxygen saturation, and a cardiac variable (e.g., heart rate or electrocardiogram).

While PSG identifies the severity of sleep-disordered breathing (apnea-hypopnea index) based on actual sleep time, a type III and IV study produces an estimate of severity (ie, respiratory event index or REI) based on monitoring time. With the sensors used, it is impossible to detect hypopneas that are only associated with cortical arousals. Due to these limitations, type III studies may underestimate the severity of OSA.

Initial evidence-based systematic reviews of type III sleep studies concluded that its use was associated with unacceptably high false-positive and false-negative results, and recommended against their use [11]. However, technological advancements have improved diagnostic accuracy and the most recent American Academy of Sleep Medicine clinical guidelines concluded that the use of unattended portable systems is feasible under certain circumstances [4]. In particular, home testing was deemed appropriate in subjects with a high pre-test probability of OSAS, and then only if the investigation of these patients was under the supervision of a certified sleep physician, with the diagnostic device applied by an experienced sleep technician. Conversely, patients with a low pre-test probability of OSAS, those with significant comorbid medical illness or those with suspected non-OSAS sleep disorders should undergo formal in-laboratory PSG as their initial investigation. Similarly, a negative or technically inadequate home sleep study should prompt overnight admission to the sleep laboratory for further investigation [4].

Type IV

Type IV sleep study systems utilize pulse oximetry, with or without concomitant measurement of ECG or oronasal airflow. Oximetry is an attractive, intuitive diagnostic option that has been found to predict outcomes of treatment of OSAS at least as well as in-laboratory PSG [12]. However, oxyhaemoglobin desaturation may be absent in hypopnoeas and obstruction-induced arousals, and in non-obese subjects. Furthermore, the diagnostic accuracy of oximetry may be further compromised by the use of one of the less expensive commercially available oximeters [13]. A comprehensive review of the published literature found a wide variety in the reported sensitivity and specificity of oximetry in the diagnosis of OSAS, ranging from 31–98% and 41–100%, respectively [14], and its use is not recommended by current clinical guidelines [4].

In conclusion, the current literature and expert guidelines suggest that although in-laboratory PSG remains the gold standard for the diagnosis of OSAS, the ambulatory investigation of suspected OSAS is feasible in selected patient groups. Further studies evaluating patient outcomes following ambulatory diagnosis are warranted.

REFERENCES

- Young T, Palta M, Dempsey J, et al. The occurrence of sleep-disordered breathing among middle-aged adults. N Engl J Med 1993; 328: 1230–1235.

- Pang KP, Terris DJ. Screening for obstructive sleep apnea: an evidence-based analysis. Am J Otolaryngol 2006; 27: 112-8.

- Kent BD, McNicholas WT. Ambulatory investigation of sleep-disordered breathing. Breathe 2011; 8: 106-112.

- Collop NA, Anderson WM, Boehlecke B, et al. Clinical guidelines for the use of unattended portable monitors in the diagnosis of obstructive sleep apnea in adult patients. Portable Monitoring Task Force of the American Academy of Sleep Medicine. J Clin Sleep Med 2007; 3: 737–747.

- Kapur V, Auckley D, Chowdhuri S, Kuhlmann D, Mehra R, Ramar K, Harrod C. Clinical Practice Guideline for Diagnostic Testing for Adult Obstructive Sleep Apnea: An American Academy of Sleep Medicine Clinical Practice Guideline. J Clin Sleep Med PMCID:

- Haba-Rubio J, Janssens JP, Rochat T, Sforza E. Rapid eye movement-related disordered breathing: clinical and polysomnographic features. Chest 2005; 128:3350–7.

- Pépin JL, Guillot M, Tamisier R, Lévy P. The upper airway resistance syndrome. Respiration 2012; 83: 559-66.

- Iber  C, Redline  S, Kaplan Gilpin  AM, et al. Polysomnography performed in the unattended home versusthe attended laboratory setting - Sleep Heart Health Study methodology. Sleep 2004; 27: 536-540.

- Campbell A, Neill A. Home set-up polysomnography in the assessment of suspected obstructive sleep apnea. J Sleep Res 2011; 20: 207–213.

- Ghegan MD, Angelos PC, Stonebraker AC and Gillespie MB. Laboratory versus portable sleep studies: a meta analysis. Laryngoscope 2006; 116: 859–864.

- Ross SD, Sheinhait IA, Harrison KJ, et al. Systematic review and meta-analysis of the literature regarding the diagnosis of sleep apnea. Sleep 2000; 23: 519–532.

- Netzer N, Eliasson AH, Netzer C, et al. Overnight pulse oximetry for sleep-disordered breathing in adults: a review. Chest 2001; 120: 625–633.

- Whitelaw WA, Brant RF, Flemons WW. Clinical usefulness of home oximetry compared with polysomnography for assessment of sleep apnea. Am J Respir Crit Care Med 2005; 171: 188–193.

- McNicholas W. Diagnosis of obstructive sleep apnea in adults. Proc Am Thorac Soc 2008; 5: 154–160.